Supporting information:

Functionalized gold nanoflowers on carbon screen-printed electrodes: an electrochemical platform for biosensing hemagglutinin protein of influenza A H1N1 virus

*Carlos Torres-Méndez†, Sharmilee Nandi‡, Klara Martinovic‡, Patrizia Kühne‡, Yifan Liu†, Sam Taylor†, Maria Lysandrou‡, Maria Ines Berrojo Romeyro Mascarenhas‡, Viktoria Langwallner‡, Javier Enrique Sebastián Alonso†, Ivana Jovanovic‡, Maike Lüftner‡, Georgia-Vasiliki Gkountana‡, David Bern†, Abdul-Raouf Atif †, Ehsan Manouchehri Doulabi‡, Gemma Mestres† and Masood Kamali-Moghaddam‡\*.*

† Division of Biomedical Engineering, Department of Materials Science and Engineering, Uppsala University, Uppsala, Sweden

‡ Department of Immunology, Genetics and Pathology, Science for Life Laboratory, Uppsala University, Uppsala, Sweden

**Validation of mAb specificity and sensitivity.** Sandwich enzyme-linked immunosorbent assay (ELISA) was performed to characterize the monoclonal antibodies specificity and sensitivity, a protocol from the company providing the monoclonal antibodies was followed. In short, in a polyvinylchloride (PVC) microtiter, 100 μL of antibody solution (0.228 µg/mL) was added to each well of the microtiter. The plate was incubated overnight at 4°C to allow for antibody binding to the bottom of the wells. The wells were washed thrice with PBS solution. The wells were filled with 200 µL of 3% BSA/PBS. The plate was incubated overnight in a humid atmosphere at room temperature. The wells were washed thrice with PBS solution. Subsequently, 100 μL of the H1 solution (1 µg/mL) in 3% BSA/PBS was added to each well. The plate was washed 3 times with PBS. The solution containing secondary antibody was added (100 µL). The plate was incubated for 30 min at 37 °C in the dark. The plate was washed 5 times with PBS. The substrate was added, the plate was incubated and optical densities at 568 nm was measured on an ELISA plate reader.




Figure S1. CV of AuNFs/CSPE upon addition of water and ethanol, recorded in 0.1 M KCl containing 5 mM [Fe(CN)6]3−/4−, with a scan rate of 100 mV/s.

Diagrama, Esquemático


Descripción generada automáticamente 

Figure S2. Equivalent circuit and Nyquist plot for CSPE.

Diagrama, Esquemático

Descripción generada automáticamenteGráfico, Gráfico de líneas

Descripción generada automáticamenteFigure S3. Equivalent circuit and Nyquist plot for AuNFs/CSPE. Diagrama, Esquemático

Descripción generada automáticamente Gráfico, Gráfico de líneas

Descripción generada automáticamente Figure S4. Equivalent circuit and Nyquist plot for 4-ATP/AuNFs/CSPE. Diagrama, Esquemático

Descripción generada automáticamente Imagen que contiene Gráfico

Descripción generada automáticamente Figure S5. Equivalent circuit and Nyquist plot for mAbs/4-ATP/AuNFs/CSPE. Diagrama, Esquemático

Descripción generada automáticamente Gráfico

Descripción generada automáticamente

Figure S6. Equivalent circuit and Nyquist plot for BSA/mAbs/4-ATP/AuNFs/CSPE.

**Supplementary table 1**. Mouse monoclonal influenza A H1N1 (Swine Flu 2009) hemagglutinin antibody specificity in ELISA provided by SinoBiological

|  |  |
| --- | --- |
| **Cross-reactivity** | **No cross-reactivity** |
| H1N1 (A/BrevigMission/1/1918) HA | H1N1 (A/Brisbane/59/2007) HA |
| H1N2 (A/swine/Guangxi/13/2006) HA | H1N1 (A/Solomon Islands/3/2006) HA |
| H1N3 (A/duck/NZL/160/1976) HA | H1N1 (A/Ohio/UR06-0091/2007) HA |
|  | H1N1 (A/New Caledonia/20/1999) HA |
|  | H1N1 (A/Puerto Rico/8/1934) HA |
|  | H1N1 (A/WSN/1933) HA |
|  | H3N2 (A/Brisbane/10/2007) HA |
|  | H5N1 (A/Anhui/1/2005) HA |
|  | H5N1 (A/Indonesia/5/2005) HA |
|  | H5N1 (A/Vietnam/1194/2004) HA |
|  | H5N1 (A/bar-headed goose/Qinghai/14/2008) HA |
|  | H5N1 (A/turkey/Turkey/1/2005) HA |
|  | Influenza B (B/Florida/4/2006) HA |